## Slide 1
FINAL PHASE 2 MODEL
EXP030
A quality-first VarNet submission
4 cascades · 12 channels · 8 sensitivity channels · 20 epochs
0.915251
FINAL TOTAL SCORE
0.9178
SSIM FULL
0.9108
SSIM BBOX
30 / 30
official runs completed
2026 SNU FastMRI Challenge · EXP030
01

## Slide 2
MODEL DESIGN
VarNet reconstruction path
Only undersampled k-space and its acquisition mask enter inference.
01
K-space + mask
Complex input
02
Sensitivity U-Net
8 channels
03
VarNet cascades ×4
12 channels each
04
Data consistency
Measured samples
05
Magnitude image
Slice output
Inference integrity
✓
No image field input
✓
No bbox annotations
✓
No provided GRAPPA
✓
Batch = 1 timing
2026 SNU FastMRI Challenge · EXP030
02

## Slide 3
TRAINING EVIDENCE
EXP030 converged to the best validation candidate
Validation loss · 20 epochs
19
BEST EPOCH
3.20296
BEST VAL LOSS
0.90337
VAL SSIM FULL
0.92599
VAL SSIM BBOX
+0.005595
validation quality vs EXP012
Longer training + stronger sensitivity estimation improved both full-image and lesion-box metrics.
2026 SNU FastMRI Challenge · EXP030
03

## Slide 4
CANDIDATE SELECTION
EXP030 wins on both official quality metrics
Chart: 
| SSIM full | SSIM bbox | Total score
EXP012 | 0.912 | 0.904 | 0.90897
EXP030 | 0.9178 | 0.9108 | 0.91525
+0.0063
quality-score gain
+0.006286
one-shot total-score gain
Decision rule
Quality gap > 0.001 → prefer EXP030; timing cannot reverse the result.
2026 SNU FastMRI Challenge · EXP030
04

## Slide 5
OFFICIAL TIMING
Thirty repeats confirm stable quality and runtime
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
ms/slice | 173.4 | 173.8 | 173.7 | 173.7 | 173.5 | 173.6 | 173.6 | 173.6 | 173.7 | 173.6 | 173.5 | 173.6 | 173.6 | 173.5 | 173.5 | 173.7 | 173.5 | 173.6 | 173.6 | 173.7 | 173.5 | 173.6 | 173.7 | 173.6 | 173.5 | 173.6 | 173.6 | 173.6 | 173.6 | 173.5
Run number
173.4
BEST MS / SLICE · RUN 01
0.9143
QUALITY · ALL 30 RUNS
0.915251
FINAL TOTAL SCORE
2026 SNU FastMRI Challenge · EXP030
05

## Slide 6
SUBMISSION HANDOFF
One command, fixed harness, auditable artifacts
1
Place weight
../result/test_Varnet/checkpoints/best_model.pt
2
Mount data read-only
/root/Data/leaderboard
3
Run official entrypoint
bash recon_eval.sh
Integrity record
Checkpoint SHA-256
ef74bec4243e7aa39d5aa8dae031e1bb83e771c26be00c4e5330e17b60a66085
Evaluator SHA-256
a93cf978b4938a060d4f5a204d3f7118fb8c17bf12408cbe44e6e7954ba5a135
Required deliverables
GitHub repository
Loss graph
Model weight
Description deck
EXP030 is ready for final submission.
Selected for its durable quality advantage—not a fragile timing win.
2026 SNU FastMRI Challenge · EXP030
06